# Activities of NiO, FeO, and O2− in silicate melts

Author links open overlay panel

, , , , , , ,

https://doi.org/10.1016/j.gca.2005.02.005

## Abstract

We have measured activity coefficients for NiO and FeO in a variety of silicate melts (SiO2-CaO-MgO-Al2O3) using electrochemical methods similar to square wave voltametry. We report the activity of the oxide ion (aO2−) in one composition. Based on these measurements, we have constructed a model that predicts the variations in activity we observe, and also variations in NiO activity reported in the literature. Activity of metal-oxide components such as NiO and FeO in silicate melts can be understood by considering contributions from both the activity of the oxide ion and the activity of the cation through expressions of the type:

and

Based on measurements of aO2−, we find that aO2− is effectively modeled by the expression aO2− = 0.75 · NBO2/BO (relative to a standard state of melt with the composition of diopside). Once the effects of variations in aO2− on the metal-oxide activity coefficient are accounted for, cation activities (aNi2+, aFe2+) can be modeled by an ideal-solution-like model in which the activity of Ni2+ or Fe2+ is related to its concentration among a subset of other cations with which it mixes (primarily other divalent cations). This model is successful in predicting NiO activities over the range of compositions 0.3<XMgO + XCaO<0.55. Modeling contributions to the NiO activity from both aO2− and aNi2+ accounts for virtually all of the variation in measured activity coefficients not arising from experimental uncertainty.

## Introduction

Colson et al. (1995) presented a simple model describing variations in NiO activity in silicate melts as a function of composition, which, based on only four compositional points, accurately predicted qualitative variations in NiO activity as a function of Ca, Mg, Al, and Si over a wide range of compositions (mostly along the joins anorthite-diopside and cordierite-diopside). In this paper, we examine this model further with a larger data set, and extend it to activities for FeO as well as NiO.

There is a particularly large body of data available for NiO activity in silicate melts. This large data set should be sufficient to identify the variables that control NiO activity. Yet, a model that consistently predicts NiO activity variations measured by different researchers has not been demonstrated. Various workers have found correlations between activities and melt parameters to be erratic, with correlations observed in some studies not being reproduced in others (Pretorius and Muan 1992, Snyder and Carmichael 1992, Doyle and Naldrett 1987, Ertel et al 1997, Holzheid et al 1997, O’Neill and Eggins 2002). Correlations, when observed, are often complex, such as the U-shaped dependence on NBO/T reported by Pretorius and Muan (1992) and Colson et al. (1995). O’Neill and Eggins (2002) note that for their data there are no correlations between the NiO activity coefficient and either NBO/T or network-modifying cations such as MgO. O’Neill and Eggins (2002) correlate variations in NiO activity to a matrix of ten melt variables (a full subregular solution model), presuming that NiO activity varies not simply according to the concentration of individual melt components but according to the interactions among those different components. However, they still have only limited success in predicting the relative variations in activity measurements from other workers.

Similar to the results of O’Neill and Eggins (2002), the results we report below show no significant correlation either to NBO/T or to the sum of the concentrations of MgO and CaO when these parameters are considered separately. However, we find a significant correlation when both of NBO/T and (MgO + CaO) are considered together. We propose that the reason for the complexity in the variation in NiO activity with composition is that most NiO exists in the melt not as NiO, but as ions such as Ni2+ and O2−. The activity of Ni2+ varies with the concentration of network-modifying cations such as Mg2+ and Ca2+ while the activity of O2− varies with network-forming cations and thus with parameters such as NBO/T. Because the values of these two parameters are partially anticorrelated, the dependence of aNiO on the two of them together tends to mask any correlation with either of them alone.

In this report, we use electrochemical methods both to expand the activity data for NiO and FeO to additional melt compositions and to provide insight into the separate contributions from activities of Ni2+ and O2−. Electrochemical methods are well established in measuring equilibrium and kinetic properties of solutions, with substantial progress on the basic theory occurring in the 1960s (see review in Bard and Faulkner, 1980) and application to silicate melts being made in the 1980s and 1990s (e.g., Semkow et al 1982, Karlsson and Perander 1983, Russel and Freude 1989, Colson et al 1990, Colson et al 2000a, Shibata et al 1995, Suzuki et al 1995, Yokozeki et al 1996, Medlin et al 1998, Wiedenroth and Russel 2003). Electrochemical methods are useful in understanding the chemical potential of electroactive species (that is, species that can be oxidized or reduced) in a solution, to which component activities are directly related.

## Section snippets

## Description of Experimental Method and Electrochemical Technique

Electrochemical experiments were done in a Deltech 1-atm gas-mixing furnace using the Pt wire loop method (Semkow et al 1982, Colson et al 1990). Three electrodes were immersed in each experimental melt bead: a working electrode (where the oxidation or reduction of the species of interest occurs), a reference electrode (which provides the reference potential against which the working electrode is compared), and a counter electrode (which completes the circuit for the current through the working

## Voltametric Peak Potentials

Mean values for the measured peak potentials (Epk) are given in Table 2. Although actual experiments were done at a variety of values for fO2, the values in Table 2 are normalized for conditions in pure O2. These values also incorporate minor adjustments to peak potentials required for some experiments, as discussed above and in EA-1. Based on duplicate measurements, the peak positions are precise within about ±5 mV for NiO and ±8 mV for FeO (1σ).

## Diffusion Measurements

Where the concentration for the electroactive

## Implications for partitioning

These results do three things as pertains to partitioning: 1) Demonstrate that variations in melt activities are important in predicting partition coefficients, because melt activities vary significantly even within basalt-like melts, 2) show that it is possible to accurately model those variations in melt activity, and 3) provide the foundation for separating out the effects of “melt” and “crystal” in understanding partitioning.

Various workers have attempted to model partition coefficients

## Conclusions

1. Variations in aNiO as a function of silicate melt composition in SiO2-Al2O3-MgO-CaO systems can be modeled successfully by considering covariations in the alternative components, aO2− and aNi2+.

2. aO2− is modeled effectively by the relationship: aO2− = 0.75 · NBO2/BO

3. For the range of melt compositions in which XMgO + XCaO is between 0.3 and 0.55, aNi2+ is modeled effectively by a modified ideal solution model in which Ni2+ mixes with Mg2+ and Ca2+ on sites in the melt (presumably, it would

## Uncited references

Floden et al.(1998); Hendrickson et al. (1999) not cited in the text.

## Acknowledgments

This work was supported in part through NASA grant NAG5-7366. We thank Brad Jolliff for microprobe work. We thank Chris Capobianco for his helpful comments and suggestions on an early version of this manuscript. We thank Astrid Holzheid, C. Russel, Don Snyder, anonymous reviewers, and associate editor Rick Ryerson for their conscientious and helpful suggestions that led to significant improvements in the manuscript.