# Silicon isotope abundance ratios and atomic weights of NBS-28 and other reference materials

Author links open overlay panel

, , , , ,

https://doi.org/10.1016/j.gca.2005.06.015

## Abstract

The silicon isotope abundance ratios and atomic weights of NBS-28 and several other silicon isotope reference materials were determined in this study. For the calibration of the measurement procedure, two new synthetic isotope mixtures were prepared gravimetrically from highly enriched silicon isotope materials in the form of SiO2. All materials were converted into SiF4 gas and subsequently their silicon isotope ratios were measured on the SiF3+ species by using a gas source mass spectrometer MAT-253. The calibrated isotope abundance ratios of NBS-28 are 0.0507446 (26) for 29Si/28Si and 0.0341465 (15) for 30Si/28Si. The corresponding isotopic abundances are 92.17515(28)% for f(28Si), 4.67739(24)% for f(29Si) and 3.14746(14)% for f(30Si). The silicon molar mass of NBS-28 is determined to be 28.08653(11), which is 0.001 larger than previously reported values. In the meanwhile, the 29Si/28Si and 30Si/28Si isotope abundance ratios and atomic weights of SRM-990, IRMM-017, IRMM-018, GBW-04421 and GBW-04422 are also calibrated. These new calibrated data can improve the reliability and comparability of silicon isotope results using above calibrators.

## Introduction

There are four silicon isotopes in nature: 28Si, 29Si, 30Si and 32Si. The first 3 are stable isotopes and the last one is radioactive. The relative abundances of 28Si, 29Si and 30Si were reported to be 92.223%, 4.685% and 3.092%, respectively (De Laeter et al., 2003). The mass-spectrometry studies of natural silicon isotope variations started in the 1950s (Reynold and Verhoogen 1953, Allenby 1954). Extensive studies on silicon isotope compositions of meteorites and lunar rocks were made in the 1970s (Epstein and Taylor 1970, Taylor and Epstein 1973, Clayton et al 1978, Yeh and Epstein 1978).

Since 1982, a large number of the Earth’s samples were investigated (Douthitt 1982, Ding et al 1988, Ding et al 1996, Ding et al 2003, Ding et al 2004, Ding et al 2005, Song and Ding 1990, Jiang et al 1992, Jiang et al 1993, Jiang et al 1994, De La Rocha et al 1997, De La Rocha et al 1998, De La Rocha et al 2000, Wu et al 1997, Ziegler et al 2002, De La Rocha 2003, Basile-Doelsch et al 2005). The largest variation (from −5.7 to 6.1‰) of silicon isotopes in the Earth’s samples has been found in surface environments (Douthitt 1982, Ding et al 1996, Ding et al 2005, De La Rocha et al 2000, De La Rocha 2003, Basile-Doelsch et al 2005). A number of important geological applications of silicon isotope study, such as tracing the source of materials, characterizing sedimentary environments and identifying the genesis of rocks and ores, were proposed (Ding et al 1988, Ding et al 1996, Song and Ding 1990, Wu et al 1997, De La Rocha et al 1997, De La Rocha et al 1998, De La Rocha 2003). In the meanwhile, extensive isotope measurements on elemental silicon had been made for a redetermination of the Avogadro constant (DeBiévre et al 1994a, De Biévre et al 1994b, De Biévre et al 1995, Valkiers et al 1998, Valkiers et al 2005).

As other light isotopes, the silicon isotope compositions are expressed as δ values related to a given reference sample: ‰

‰

where Re indicates reference material and Sa indicates sample to be measured. So far the most commonly used silicon isotope reference material is NBS-28 (NIST RM8546), a sample of quartz sand distributed by National Bureau of Standard of the United States (now National Institute of Standards and Technology-NIST). It has been accepted as an international reference material of oxygen isotopes for silicates and is now widely used as a reference material for silicon isotopes. Besides, there are several other silicon isotope reference materials (Table 1). Coplen et al. (2002) had compiled the data of these materials. Reynolds et al. (2003) had measured the silicon isotope compositions of IRMM-017 and IRMM-018 relative to NBS-28 by MC-ICP-MS, and got the results not consistent with those previously measured. Carignan et al. (2004) made the first attempt to harmonization of notations and choice of primary and secondary reference materials for relative silicon isotopes. Ding (2004) published the results obtained at Institute of Mineral Resources, CAGS (IMR) for NBS-28, IRMM-017, IRMM-018, GBW-04421 and GBW-04422 (Table 1). It seems that there are still discrepancies between the results from different laboratories and some intercamparison exercises may be needed. However, in order to resolve these discrepancies and guarantee the long-term comparability of silicon isotope measurement results, we need to fix precisely the relationships between NBS-28 and other reference materials by calibrating their silicon isotope abundance ratios accurately.

According to the definition, relative isotope composition (δ scale) of sample is measured against certain reference material, for which precise isotope abundance ratio is not necessary to know. In contrast, in “calibrated” measurement, the isotope abundance ratio of sample is measured against the synthetic isotope mixtures with known precise isotope abundance ratios. Because these synthetic isotope mixtures are always gravimetrically prepared from isotope highly enriched materials, this kind of measurement is SI-traceable. In some cases, this kind of measurement is called “absolute measurement.” However, this term seems not proper for nor measurement result can be absolute. As the conditions of measurement improve continuously, the measurement results will gradually approach, but never reach, the true value. So it is more proper to use the terms of “calibrated” or “SI-traceable” isotope abundance ratio measurement.

The data of “calibrated” isotope abundance ratios for isotope reference materials were limited for in most cases only δ values were pursued. However, in the last two decades these data increased significantly due to the improvement of research conditions (appearance of highly enriched isotope materials, new instruments and technical expertise) and the growth of scientific requests. Now, a number of research groups are working on the calibration of O, H, S, N, Si, Xe, and Kr isotope abundances in reference materials (Hagemann et al 1970, Baertschi 1976, Li et al 1988, De Biévre et al 1994b, De Biévre et al 1995, De Biévre et al 1996, Valkiers et al 1998, Ding et al 2000, Ding et al 2001). Their results serve as “anchors” for normalizing δ-scales and increase the reliability and comparability of isotope reference materials.

De Biévre et al. (1994b) made the first calibration of the silicon isotope abundance ratios of IRMM-017 and IRMM-018. However, the ratios of NBS-28, the most widely used reference materials for silicon isotope measurements, was not established in that study. This condition is not satisfactory for ensuring the long-term comparability of silicon isotope measurement results. Therefore, effort has been made at IRMM (Institute for Reference Materials and Measurements, JRC, EC) and IMR to calibrate silicon isotope abundance ratios of NBS-28 and of other silicon isotope reference materials. At IRMM (Valkiers et al., 2005), NBS-28 and IRMM-018a were compared against existing synthetic silicon isotope mixtures (De Biévre et al., 1994a) and the silicon isotopic abundance ratio of prepared SiF4 gas were measured by single-collector method with a modified MAT 271 mass spectrometer. An important feature of the measurements carried out at IRMM, with the single collector technique, was that the measured gas was admitted into the mass spectrometer ion source by means of a molecular leak inlet system. At IMR, samples of NBS-28 and five other reference materials were compared against newly prepared synthetic silicon isotope mixtures and the silicon isotope abundance ratios of the prepared SiF4 gas were measured by multicollector method (Ding, 2004) with a MAT 253 mass spectrometer. In contrast to the condition of IRMM, the measured gas was admitted into the mass spectrometer ion source by means of a viscous leak inlet system. The calibrated silicon isotope abundance ratios of NBS-28, IRMM-017 and IRMM-018 obtained at IMR are reported here together with the calibrated silicon isotope abundance ratios of GBW-04421, GBW-04422 and SRM-990.

## Section snippets

## Preparation of Synthetic Isotope Mixtures

Two synthetic silicon isotope mixtures (M-1 and M-2) were gravimetrically prepared from silicon isotope highly enriched SiO2, that purchased from the Soue Pa “Electrochemical Plant,” Zelenogorsk, Russia. The chemical impurities of these starting materials were measured at the Beijing Chemical Reagent Research Institute by ICP-MS (type J-A 96-965), and the results are listed in Table 2. The contents of impurities are very low, but still have a small effect on the calculation of the synthetic

## Silicon Isotope Abundances of Highly Enriched Silicon Isotope Materials

The oxygen isotope compositions of three starting materials (4 fluorinations had been made for each of three starting materials) are listed in Table 3. Combining these data with the data on atomic weights of oxygen isotopes and the oxygen isotope abundance in V-SMOW (Table 4), the atomic weights of oxygen in these starting materials were calculated (Table 3). Then the molecular weights of 28SiO2, 29SiO2and 30SiO2 for three starting materials were determined (Table 5).

Their silicon isotope

## Discussion

To guarantee the reliability and comparability of data from different laboratories, we need to define the relationship between silicon isotope compositions of various reference materials and determine their silicon isotope abundance ratios. Thus, a direct calibration on isotope abundance ratios of NBS-28 and other reference materials was undertaken in this study.

In comparison to previous study, improvements had been made in this study on three aspects. First, the starting materials used to

## Acknowledgments

We wish to thank the Geological Survey of China (Item No. 200220190017) and the Ministry of Land and Resources (Item No. 20010209) for providing financial support to this study. This paper is benefited from the kind help of our friends at IRMM, Dr. De Biévre, Dr. Philip and Mr. Valkiers. The comments and suggestions from associate editor and reviewers (Dr. Horita, Dr. Gonfiantini, Dr. Cardinal, and another reviewer) are very helpful to improve the quality of this paper.